## Slide 1: 2019 NJ Energy Master Plan – Strategies
Reduce Emissions from Transportation
Accelerate Deployment of Renewable and Distributed Energy
Energy Efficiency and Conservation
Reduce Emissions from Buildings
Modernize the Grid
Low/Moderate Income & Environmental Justice Communities Planning
Clean Energy Innovation Economy

## Slide 2: Transportation Sector – Highlights
Electrify
Decrease Miles Traveled; Relieve Congestion and Idling
Reduce Port and Airport Emissions: Electrification & On-site Solar

## Slide 3: 100% Clean By 2050 – Highlights
50% Renewable Portfolio Standard by 2030
“Model Scenarios” to 100% Clean, Carbon-Neutral Electricity Generation by 2050
“Explore Regulatory Authority” To Achieve 100% Clean Energy by 2050
3500 MW Offshore Wind by 2030
Community Solar
Successor Solar Incentive Program
600 MW Energy Storage by 2021 and 2000 MW by 2030

## Slide 4: 100% Clean Energy By 2050
EMP Definition:
100% Carbon-Neutral Electricity Generation and Maximum Electrification of Transportation and Building Sectors

## Slide 5: Energy Efficiency – Highlights
Implement Clean Energy Act: Electric & Gas Utilities Reduce Consumption by 2% & 0.75%
NJ Clean Energy Program
Reduce Peak Demand: Rate Design & Customer Control
Building & Appliance Standards

## Slide 6: Building Sector – Highlights
New Construction Net-Zero Carbon
Net-Zero Home Incentive Program
EV-Ready and Demand Response Ready for New Multi-Unit and Commercial Construction
“Start the Transition” for Oil and Propane-fueled Buildings to Electric

## Slide 7: Modernize the Grid – Highlights
Distribution System Upgrades: Increased Electrification & Distributed Energy Resources (DER)
Bi-directional Grid Power Flow
Non-Wire Solutions, eg Batteries
Advanced Metering: Allow Customers’ Energy Management
Increased Oversight & Return on Equity (ROE) Reform of Utilities’ Requests for Transmission Projects
Oversight over Gas Utilities’ Replacement of Leaking Pipelines

## Slide 8: Low/Moderate Income, Environmental Justice Communities – Highlights
Community Energy Plans with Local Community Groups to Identify Needs, Allow All to Benefit from Clean Energy Transition Locally
Community-Led Development of Community Solar
Maximum Installation of Solar by Local Workforce
Local Workforce Opportunities and Training
Replace Public Transit Fleets with Electric
EV Charging Infrastructure
Electric Taxis and Car Sharing

## Slide 9: Clean Energy Innovation Economy – Highlights
Grow World-Class Research & Supply Chain Clusters
Workforce Training Programs
Innovative Financing & Low-Cost Loans for In-State Projects & Technology Development
Clean Buildings Hub to Educate Builders, Architects, Contractors, Engineers & Code Enforcers re Clean Energy Building Construction & Retrofits

## Slide 10: First-Look Issues with EMP Draft
No Mention of Moratorium on Fossil Fuel Projects
No Mention of Power Plants Shipping Power Out of State or Pipelines Going Through the State
No Mention of 2 Remaining Coal-Burning Plants
Clean Energy (Re)definition Is “Carbon-Neutral”: Includes Natural Gas, Fossil Fuel Plants with Carbon Sequestration, Nuclear, Incinerators, Biomass, Carbon Credits and Offsets
RPS Is 50% Renewable By 2030. No Mention of Raising the % After 2030
We Will Need Regulations To Back Any Plans Up.