QUESTONS AND ANSWERS ABOUT BUILDING ELECTRIFICATION, JULY 18, 2024

Note: time stamps associated with individual questions are the times they were ENTERED into CHAT.  Live discussion provides more answers.  Q&A begins about 45 minutes into the  July 18 Recording, and ends about 1 hour 14 minutes.

COMMUNITY SOLAR VERSUS 3rd PARTY RENEWABLE ELECTRIC

Community Solar projects provide roughly 20% credit on the electrical supply portion of your local utility bill. Solar projects are described and nearest available locations are indexed at https://bit.ly/3HwWedg and https://njcleanenergy.com/community-solar (Thank you Ed Neblock)

From John Burgess to Everyone: Is Community Solar the same as what you have?

John Pitts: no, I use electricity from “Inspire” Clean Energy.  It costs about one cent/kwh more than my Atlantic City Electric utility rates.

From Pat Miller: No, John is talking about a 3rd party private renewable electric supplier, in this case somewhere in the Midwest. Community solar is from a local NJ community solar field.

19:45:25 From Gerry Dalzell to Everyone:  In North Jersey (PSEG), I get my power from Inspire.  One warning: the contract is annual.  At the end of the contract, the rate goes up markedly without warning.  Renewing is easy, but you have to keep track  and initiate the renewal.  Steve Miller and John Pitts also commented that a resident must bargain at time of contract renewal in order to arrive at the lowest rate from Inspire and the other 3rd party suppliers.

19:45:21 From Stephen Flynn to Everyone: Can we use JCP&L to pull in Community Solar in Hope, Warren County?

19:46:15 Steve Miller: yes, residents of any community served by JCP&L can theoretically access any available Community Solar project in JCP&L territory. However, many solar projects restrict access to specific geographical areas.  The solar project finder requires you enter your zip code- and you will learn which solar projects are available to you.

From Steve Miller COMMUNITY SOLAR is fully described in the Feb 16, 2023 Building Electrification webinar, indexed here: https://climate.smiller.org/50x30/building-electrification/All-heat-pump-webinars.html   Here are the Feb 16, 2023 Community Solar files:  Announcement; Recording; Slides; Chat Q&A. Yvette Viasus, the Community Solar Engagement Manager for Solar Landscape (installing 54 of the first NJ trial Community solar systems) discusses current and future Community Solar, which has over 100 NJ projects completing in 2023-2024, and another hundred under construction.  The NJ BPU authorized continuation of the NJ Community Solar Program (and capped the number available per year).  Further info, and locate a Community Solar project near your zip code: https://bit.ly/3HwWedg or https://njcleanenergy.com/community-solar

NOTE: Community Solar projects are continually being built, and customers are continually filling each project’s quota.  51% of subscribers to each project must be low income.  If you don’t see a nearby Community Solar project for your zip code, wait a few weeks and try again. Expect a long delay (as long as a year) from signup to actual solar electricity credited to your account.  While waiting, you can sign up for 3rd party clean electricity because you can have a subscription to both sources of electricity at the same time.

HOME ELECTRIC STORAGE BATTERIES

19:32:13 From kim groome to Everyone: 	Can you explain a little more energy storage and EV? (not familiar w idea)

Steve Miller answer: The energy storage battery in an EV has a greater capacity of a typical home storage battery like a single unit of the Tesla wall battery, etc. There are now standards for plugging in an EV into the house power system, and providing backup battery. (Ford Lightning pickup has electrical outlets, that allow household appliances to plug in to the pickup, in the event of a power outage.)  Many standards bodies are working to standardize local electric utilities ability to tap into the local storage to help manage peak electrical loads. During peak load times, utilities can presently turn off electrical current drawn by electric hot water tanks which are equipped with a communication adapter (My new Rheem heat pump water tank was shipped to me with an adapter already installed, although JCP&L does not yet have the ability to control my water tank.)

20:07:44 From Jesse Lubkiewicz to Everyone: Ford F-150 Lightning, GM Silverado EV & Tesla Cybertruck are in the early phases of installs with powershare (2-way) type connection that as you have said can act as an emergency backup 'generator'.  It is for the most part only available in California, Texas, Michigan, New York as first phase of that is implemented in concert with Ford & Tesla.  Those are in most cases going to be installed in concert with Battery storage/PV.  That is in it's infancy but will be more common in the next 1-3 years.  Other models of Ford's/GM/Tesla's will likely add it in the coming years.

HOME WIND TURBINES FOR ELECTRIC GENERATION

19:33:34 From Robert Erickson to Everyone: Do the tulip residential wind turbines make noise, objectionable noise?

19:35:02 From Howard Stein to Everyone: A wind turbine on your front lawn poses a liability issue if some idiot gets hurt touching it when it is running

19:39:54 From Mark Fosshage to Everyone: I used to have a beach house in Lavallette. Always wanted to add wind energy. I actually found most wind funnels between houses. Maybe there is space there on side unless fence blocks. To avoid risk noted above on front lawn, the roof would be best clearly

20:02:57 From Howard Stein to Everyone:	You could find a small marine wind turbine generator for mounting wherever you want.

HEAT PUMP RESIDENTIAL HEATING

19:34:33 From Ed Neblock to Everyone: Were you happy with the heat pump installation? Sizing is important and blower door tests usually are helpful in sizing the units. I like the new ducting!

19:40:18 From ernest dorflinger to Everyone:  Does your heat pump only have the 1 outdoor unit? How many indoor "heads" do you have?

19:41:40 From b. pakizegi to Everyone: We recently had a heat pump installed in our attic in Montclair.  What we have found is that the top floor is cooled to the level we set it at, but the lower floors are 3-4 degrees warmer than the top floor which is closest to the attic.  Any suggestions?

Steve Miller answered: Unequal heating, with multiple heads, appears to be an industry-wide issue. The HeatSmart Alliance (Massachusetts, has begun polling their 60+ HVAC contractor members to report significant cold climate heat pump technology improvements this year.  One requested improvement is “Ductless multi-split heat pumps that maintain high heating efficiencies when only a single zone is calling for heat and avoid overheating in zones not calling for heat” Future BE Webinars will report latest technology as introduced in the market.

ROOFTOP SOLAR

19:36:23 From Gerry Dalzell to Everyone:  Your roofs face east and west--not the ideal arrangement for rooftop solar.  However, the roofs have a low angle, so there's some hope.

20:01:27 From Philip Fruh to Everyone:  To get an estimate for solar generation for your roof of your house and solar go to https://pvwatts.nrel.gov/pvwatts.php

Steve Miller; EnergySage.com is frequently favored for quickly generating competing quotes in community campaigns by NJ “Green Teams”.  See explanations https://electric.smiller.org

20:06:33 From Stephen Flynn to Everyone: If your Solar Company goes bankrupt, what recourse do you have to get the solar working?

20:07:15 From Tom Thorpe to Everyone They are not paying the company until it becomes operational.

20:08:01 From Stephen Flynn to Everyone: Replying to "If your Solar Compan..." But I have met people who were stuck. There has to be a better way!

A SOLAR ARRAY PLUS HEAT PUMP SPACE AND WATER HEATER IS A WINNER!

19:51:51 From Philip Fruh to Everyone: I installed a 3 head heat pump a couple of years ago. Combined with my solar panels and net metering, so far this summer I've spent $4.95/month. (grid connection fee). I would recommend adding solar if your roof has a south face.

HEAT PUMP CLOTHES WASHER AND DRYER

19:30:52 From Pat Miller to Everyone: Did you look at heat pump dryers or combo washer/dryer?

19:53:14 From Mark Fosshage to Everyone: What brand combo are u discussing

Steve Miller: we are discussing the GE Profile Model PFQ97HSPV0DS combo (all in one) 120volt washer and heat pump dryer. It plugs into any 120 volt outlet, and saves several hundred dollars and time delays to install a new 240 volt circuit to the laundry room.   Equivalent combos are available from LG and Samsung (All 3 are on the viewing floor of my local Best Buy).  Other sources are PC Richards, Lowes and Home Depot.

BLOWER DOOR TEST (USED TO HELP SIZE A HEAT PUMP)

20:11:13 From Jesse Lubkiewicz to Everyone: @ John Pitts: If you were having difficulty locating and finding someone to do a blower door test, please email me at hockeynj82@gmail.com and I would be happy to come out and perform a blower door test for you.  You are about 2.5 hrs from me but I will make the drive.

I'm a BPI certified Energy Auditor and have a blower door kit.

HOW DO I PLAN MY HOME ELECTRIFICATION?

19:40:16 From Tom Thorpe to Everyone: How did you find a company to design, purchase and install all the different equipment?

John Pitts: I was my own contractor

20:20:39 Steve Miller: The best site for planning whole house electrification is https://rewiringamerica.org and https://homes.rewiringamerica.org/

NJ now has at least 8 volunteer “Electrification Coaches” who can help NJ residents create a plan (free of charge).

SIGN UP https://bit.ly/3tmyd1g FOR THE SEPT 19 7PM Building Electrification webinar to learn how to use available tools and people to create your own Home Electrification Plan.

ACCOLAIDES:

20:10:52 From kim groome to Everyone: THANK you! very informative! and inspiring :

(and several other complements!)