## Sheet1
REBATE INFORMATION linked through www.njcleanenergy.com/transition on March 16, 2022
Check utility websites for most up-to-date information
ATLANTIC CITY ELECTRIC REBATES
Air Source Heat Pump Tier 1 | ≥ 16 SEER, ≥ 12.5 EER and ≥ 9 HSPF | 600
Air Source Heat Pump Tier 2 | ≥ 18 SEER, ≥ 13 EER and ≥ 10 HSPF | 1000
Mini-Split Heat Pump | Single: ≥ 20 SEER, ≥ 12.5 EER and ≥ 10 HSPF | 400 | Not called-out as Cold climate Heat Pumps - but JCP&L does!
Mini-Split Heat Pump | Multi: ≥ 18 SEER, ≥ 12.5 EER and ≥ 10 HSPF | 400 | Not called-out as Cold climate Heat Pumps - but JCP&L does!
JERSEY CENTRAL POWER AND LIGHT
Air Source Heat Pump | ≥ 16 SEER, ≥ 12.5 EER and ≥ 9 HSPF | 600
Air Source Heat Pump | ≥ 18 SEER, ≥ 13 EER and ≥ 10 HSPF | 1000
Ductless Mini-Split Heat Pumps | SEER 20, EER 12.5, HSPF 10; single zone | 400 | Not called-out as Cold climate Heat Pumps - but same specs as below!
Ductless Mini-Split Heat Pumps | SEER 18, EER 12.5, HSPF 10; multi zone | 400 | Not called-out as Cold climate Heat Pumps - but same specs as below!
Cold Climate ASHP (COP 1.75@ 5 degrees)
CC-ASHP Heat Pump | ≥ 16 SEER, ≥ 12.5 EER and ≥ 9 HSPF | 1000
CC-ASHP Heat Pump | ≥ 18 SEER, ≥ 13 EER and ≥ 10 HSPF | 1000
CC-ASHP Mini-split ductless HP | SEER 20, EER 12.5, HSPF 10; single zone | 400
CC-ASHP Mini-split ductless HP | SEER 18, EER 12.5, HSPF 10; multi zone | 400
Geothermal Heat Pump
Replacing an air source heat pump or ground source heat pump |  | 500
Replacing an electric forced air furnace/central air conditioner |  | 1500
Heat Pump Water Heater - ENERGY STAR certified |  | 750
ROCKLAND ELECTRIC
Heat Pump rebates not available on their website
PUBLIC SERVICE and GAS
Air-Source Heat Pump – Tier 1 | SEER ≥ 16, EER ≥ 12.5, HSPF ≥ 9 | 360
Air-Source Heat Pump – Tier 2 | SEER ≥ 18, EER ≥ 13, HSPF ≥ 10 | 600
ASHP – Cold Climate – Tier 1 | SEER ≥ 16, EER ≥ 12.5, HSPF ≥ 9, and COP ≥ 1.75 at 5°F | 600
ASHP – Cold Climate – Tier 2 | SEER ≥ 18, EER ≥ 13, HSPF ≥ 10, and COP ≥ 1.75 at 5°F | 600
Ductless Mini-Split Heat Pump | Single: SEER ≥ 20, EER ≥ 12.5, HSPF ≥ 10 | 240
Ductless Mini-Split Heat Pump | Multi: SEER ≥ 18, EER ≥ 12.5, HSPF ≥ 10 | 240
Heat Pump Water Heater | ENERGY STAR Certified | 600
Gas Boiler – Tier 1 | AFUE 90–94.99% | 450
Gas Boiler – Tier 2 | AFUE ≥ 95% | 510
Gas Furnace – Tier 1 | AFUE 95–96.9% | 390
Gas Furnace – Tier 2 | AFUE ≥ 97% | 450
Gas Combi Heat – Tier 1 | AFUE ≥ 95% | 780
Gas Combi Heat – Tier 2 | AFUE ≥ 97% | 900
SOUTH JERSEY GAS and ELIZABETHTOWN GAS
Gas Storage Tank Water Heater Power Vented ≥55 gallons, UEF ≥ 0.78 Medium Draw Pattern, High Draw Pattern UEF ≥ 0.80 |  | 450
Tankless Water Heater | UEF≥ 0.87 | 500
Indirect - Fired Storage Tank Water Heater | When paired with a qualifying AFUE 90%+ gas boiler | 250
Gas Boiler | AFUE 90-94.99% | 750
Gas Boiler | AFUE ≥95% | 850
Gas Furnace - Tier 1 | AFUE ≥95 - 96.9% | 650
Gas Furnace - Tier 2 | AFUE ≥97% | 750
Gas Combi Heat Tier 1 | AFUE ≥95% | 1300
Gas Combi Heat Tier 2 | AFUE ≥97% | 1500
NEW JERSEY NATURAL GAS
Gas Furnace | AFUE ≥95 - 96.9% | 650
Gas Furnace | AFUE ≥97% | 750
Gas Boiler | AFUE 90-94.99% | 750
Gas Boiler | AFUE ≥95% | 850
Indirect - Fired Storage Tank Water Heater coupled with a 90-94.9% AFUE boiler |  | 1100
Indirect - Fired Storage Tank Water Heater coupled with a ≥95% AFUE boiler |  | 1300
Gas Combi Heat | AFUE ≥95% | 1300
Gas Combi Heat | AFUE ≥97% | 1500